## Sheet1
[5 empty] | RH Israel | china | china
sect | f(x) cost of: | x (variable) definition | units of f(x) | Notes | Cost 4 Dish Project | Cost 8 Dish Project | Cost 100 Dish Project-estimated
field | HEX skid & steam system | x ≡ dish in field/project | [$/dish] | (including work cost) | 512500 | 1100000 | 11000000
| steam pumps | x ≡ dish in field/project | [$/dish] | (including work cost) | inc | inc
| compressed air system skid | x ≡ dish in field/project | [$/dish] | (including work cost) | 60000 | 115000 | 345000
| blowers | x ≡ dish in field/project | [$/dish] | (including work cost) | 60000 | 90000 | 500000
| cooling tower skid & pump | x ≡ dish in field/project | [$/dish] | (including work cost)
| waste water system | x ≡ dish in field/project | [$/dish] | (including work cost) | 15000 | 30000 | 120000
| receiver cooling cycle & pump | x ≡ dish in field/project | [$/dish] | (including work cost) | 180000 | 320000 | 3200000
| system control and instrumentaion | x ≡ dish in field/project | [$/dish] | (including work cost) | 205000 | 272000 | 310000
| Elect and Low voltage | x ≡ dish in field/project | [$/dish] | (including work cost) | 120000 | 150000 | 937500
dish | dish price | x ≡ dish in field/project | [$] | (including work cost, receiver, hydraulics, annulus, swivels etc.)
| Steel price | x ≡ dish in field/project | [$] | inc works | 1364000 | 1742400 | 17600000
| reciever (Press vsl, glass) |  |  |  | 125200 | 278000 | 2900000
| Hydraulics |  |  |  | 280000 | 560000 | 6000000
| Steel acc (Encoder, wheeles, rails ) |  |  |  | 600000 | 560000 | 6300000
annulus | Rock wool / glass wool | x ≡ dish in field/project | [$/m3] | (including work cost) | 40283.1 | 61647.3 | 707206.5
| MicroTherm / compatible | x ≡ dish in field/project | [$/m3] | (including work cost) | 122070 | 184080 | 3146325
| stainless steel (piping) | x ≡ dish in field/project | [$/m3] | (including work cost) | 47200 | 62400 | 592200
| S/S 304L (piping) | x ≡ dish in field/project | [$/m3] | (including work cost) | 82400 | 135300 | 1554000
| aluminum (liner) | x ≡ dish in field/project | [$/m2] or [$/m3] | (including work cost) | inc | inc | inc
| pipe fittings |  |  |  | 259200 | 395400 | 4292400
| piping accessories and valves |  |  |  | 237000 | 160000 | 2000000
| mirror | x ≡ dish in field/project | [$/m2] or [$/m3] | (including work cost) | 400000 | 800000 | 7225000
contigency 10% |  |  |  |  | 470985.31 | 701622.73 | 6872963.15
total per project |  |  |  |  | 5180838.41 | 7717850.03 | 75602594.65
Exclusions:
1. Steel works:
not including mass production equipment
not including civil Eng works , earth works, concrete and buildings
2. Hex:
Hex-single High Pressure output
all included (purchase, production and site works inc)
not inc heat dissipation and water treatment system
3. Mirrors:
Inc calibration and installation

## Sheet1 (2)
|  |  |  | 1 | 4 | 8 | 80 | 100 | 120 | 160
sect | f(x) cost of: | units of f(x) | Notes | Cost 1 Dish Project | Cost 4 Dish Project | Cost 8 Dish Project | Cost 80 Dish Project-estimated | Cost 100 Dish Project-estimated | Cost 120 Dish Project-estimated | Cost 160 Dish Project-estimated
[5 empty] | 4 | 8 | 80 | 100 | 120 | 160
annulus | Rock wool / glass wool | [$/m3] | (including work cost) | 10070.775 | 40283.1 | 61647.3 | 616473 | 707206.5 | 848647.8 | 1131530.4
| MicroTherm | [$/m3] | (including work cost) | 30517.5 | 122070 | 184080 | 1840800 | 3146325 | 3775590 | 5034120
| Pyrogel (XT-E) | [$/m2] | not including work | 31322 | 125288 | 250576 | 2505760 | 3132200 | 3758640 | 5011520
| Majus | [$/m3] | not including work | 205632 | 822528 | 1645056 | 16450560 | 20563200 | 24675840 | 32901120
$/Euro | 1.36
| Rock wool / glass wool | [$/m3] | (including work cost) | 10070.775 | 10070.775 | 7705.9125 | 7705.9125 | 7072.065 | 7072.065 | 7072.065
| MicroTherm | [$/m3] | (including work cost) | 30517.5 | 30517.5 | 23010 | 23010 | 31463.25 | 31463.25 | 31463.25
| Pyrogel (XT-E) | [$/m2] | not including work | 31322 | 31322 | 31322 | 31322 | 31322 | 31322 | 31322
| Majus | [$/m3] | not including work | 205632 | 205632 | 205632 | 205632 | 205632 | 205632 | 205632
Note on F5: Nir Chen: estimated
Note on F6: Nir Chen: estimated
Note on F7: Nir Chen: 870 m2 of Pyrogel Mat